## Slide 1
Revised concept:
No separate building blocks for io / net / control / ...
Instead one type that gets executed in sequence
Every block can have:
  Config of variable length
    Pin numbers
    Mem addresses
    Runtime mem
Every block is instance of a class for easy reference
Every block has change flag and reset function to reset flag
Blocks can reference eachother

## Slide 2
Temp. Sensor
Light Sensor
Analog Input
Mesh
Network
BYTE
BIT
Timer
Analog Output
Phase Control
Dimmer
Digital Output
12V
Actor
PWM Output
220V
Actor
5V
Actor
LED
220V
Actor
Switch
Button
Motion Detector
Digital Input
Control Circuit
1a
1b
2a
2b
2b
3
4
4
5a
5b
5b
5b

## Slide 3
Temp. Sensor
Light Sensor
Analog Input
Mesh
Network
Memory
BIT
BYTE
WORD
Timer
Analog Output
Phase Control
Dimmer
Digital Output
12V
Actor
PWM Output
220V
Actor
5V
Actor
LED
Switch
Button
Motion Detector
Digital Input
Control Circuit
1a
1b
2a
2b
3
4
5a
5b
5b
5b

## Slide 4
1a | Digital Input | Physical Pin Number | Byte (5 Bits)
 |  | Memory Address to write (usually Bit) | Byte
 |  | Input Prototype (how to interpret the input) | ???
1b | Analogue Input | Physical Pin Number | Byte (5 Bits)
 |  | Memory Address to write (usually Byte) | Byte
 |  | Input Prototype (how to interpret the input) | ???
2a | Timer | Bit or Byte or Address | Byte (2 Bits)
 |  | Memory Address to write (Bit or Byte) | Byte
 |  | Value (or Memory Address to read) | Byte
2b | Network Receive | Source node address to accept | Word
 |  | Message Identifyer | Word?
 |  | Memory Address to write (Bit or Byte) | Byte
3 | Control | Function Prototype | ???
 |  | Input(s) / Memory Address(es) to read (Bit or Byte) | ???
 |  | Output(s) / Memory Address(es) to write (Bit or Byte) | ???

## Slide 5
4 | Network Submit | Destination node address to send to | Word
 |  | Message Identifyer | Word?
 |  | Memory Address to read (Bit or Byte) | Byte
5a | Digital Output | Physical Pin Number | Byte (5 Bits)
 |  | Memory Address to read (usually Bit) | Byte
 |  | Output Prototype (how to interpret the data) | ???
5b | Analogue Output | Physical Pin Number | Byte (5 Bits)
 |  | Memory Address to read (usually Byte) | Byte
 |  | Output Prototype (how to interpret the data) | ???

## Slide 6
BIT A
Switch
Digital Input
LICHT
a - switch
b - logic
BIT B
BIT A
Control Circuit*
* input level change triggers output level change
c - actor
BIT B
Digital Output
220V
Actor
BIT A*
BIT A
Mesh
Network
optional - if split across nodes
BIT B*
BIT B
Mesh
Network
1a
3
5a
2b
4
BIT A
Switch
Digital Input
LICHT – one switch simple (one switch / no timer / no panic / ...)
a - switch
c - actor
BIT A
Digital Output
220V
Actor
1a
5a

## Slide 7
HEIZUNG
BYTE
TO-BE
Timer
a - timer
Temp. Sensor
Analog Input
BYTE
AS-IS
b - temperature
c - control logic
BIT
VALVE
BYTE
TO-BE
Control Circuit*
* output active if TO-BE is higher than AS-IS
BYTE
AS-IS
g - leds
BIT
LED SUN
BYTE
TO-BE
Control Circuit*
* output active if TO-BE is day value
d - actor
BIT
VALVE
Digital Output
220V
Actor
BIT
LED MOON
BYTE
TO-BE
Control Circuit*
* output active if TO-BE is night value
BIT
MANUAL
Button
Digital Input
e - manual
f - manual logic
BYTE
TO-BE
BYTE
TO-BE
Control Circuit*
* switch to-be between day and night
BIT MANUAL
BYTE
AS-IS*
BYTE
AS-IS
Mesh
Network
optional - if split across nodes
BIT
VALVE*
BIT
VALVE
Mesh
Network
2a
1b
3
5a
1a
3
3
3
2b
4

## Slide 8
Control Circuit
HEIZUNG
BYTE
Value-Frost
BYTE
Value-Night
BYTE
Value-Day
Mesh
Network
Temp. Sensor
Analog Input
BYTE
TO-BE
BYTE
Selection
Timer
Button
Digital Input
Mesh
Network
selects frost/night/day
selects frost/night/day
config frost/night/day temp
Control Circuit
pick temp based on selection
Control Circuit
set valve based on temp
Digital Output
220V
Valve
Digital Output
LED
Frost
Digital Output
LED
Night
Digital Output
LED
Sun
Mesh
Network
config sensor offset
BYTE
Value-Day
Control Circuit
calc current temp
BYTE
AS-IS
Digital Output
LED
Valve
0 – no change
1 – frost
2 – night
3 – day
BIT
Selection
0 – no change
1 – step up

## Slide 9
LICHT – STEP 1
BIT
SWITCH
Switch
Digital Input
BIT OUT
Control Circuit*
Digital Output
220V
Actor
1a
3
5a

## Slide 10
LICHT – STEP 2
BIT
SWITCH
Switch
Digital Input
BIT OUT
Control Circuit*
Digital Output
220V
Actor
1a
3
5a
BIT
SET
Mesh
Network
2b

## Slide 11
LICHT – STEP 3
BIT
SWITCH
Switch
Digital Input
BIT OUT
Control Circuit*
Digital Output
220V
Actor
1a
3
5a
Timer
BIT
SET
2a
Mesh
Network
2b
Mesh
Network
4

## Slide 12
LICHT – STEP 4
BIT
SWITCH
Switch
Digital Input
BIT OUT
Control Circuit*
Digital Output
220V
Actor
1a
3
5a
Mesh
Network
BIT
TOGGLE
BIT
SWITCH
Switch
Digital Input
1a
2b
4
Timer
BIT
SET
2a
Mesh
Network
2b
Mesh
Network
4
BIT OUT
Digital Output
220V
Actor
5a
Mesh
Network
4
2b

## Slide 13
LIGHT – CONFIG – Step 1
One time during hardware installation
Node 2
Pin 5
IN - Switch
Node 3
Pin 5
IN - Switch
node 3
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
node 3
io1
proto: 193
digital out LED
pin: 6
node 2
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
node 2
io1
proto: 193
digital out LED
pin: 6
Node 2
Pin 6
OUT - LED
Node 3
Pin 6
OUT - LED
Install hardware (connect inputs and outputs)
Power on and let discover by root
Define node name
Define pin names and types

## Slide 14
LIGHT – CONFIG – Step 2
Seldom for configuration
Control Prototype „OnOff“
Toggle
Set
Out
Out Inv
Node 2
Pin 5
IN - Switch
Node 3
Pin 5
IN - Switch
Node 2
Timer 0
node 3
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
node 3
io1
proto: 193
digital out LED
pin: 6
node 2
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
node 2
io1
proto: 193
digital out LED
pin: 6
Node 2
Pin 6
OUT - LED
Node 3
Pin 6
OUT - LED
Select module(s) from library
Assign inputs and outputs
Define timers (not events)
node 2
control0
proto: 1
on/off
node 2
timer0
proto: 1
set mem

## Slide 15
LIGHT – CONFIG – Step 2a
Result of step 2
Control Prototype „OnOff“
Execution in Node 2
Toggle
Set
Out
Out Inv
Node 2
Pin 5
IN - Switch
Node 3
Pin 5
IN - Switch
Node 2
BIT 0
Node 2
BIT 2
Node 3
BIT 0
sync
Node 2
Timer 0
Node 2
BIT 3
Node 2
Pin 6
OUT - LED
Node 3
Pin 6
OUT - LED
Node 2
BIT 1
Node 3
BIT 1
sync
node 3
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
mem: 0
node 3
io1
proto: 193
digital out LED
pin: 6
mem: 1
node 2
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
mem: 0
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
System selects node for execution
System selects and connects memory addresses
System defines network messages
node 2
control0
proto: 1
on/off
parameter:
2/0: in toggle mem 0
2/2: in toggle mem 2
0/1: out mem 1
3/3: in set mem 3
node 3
network0
proto: 193
rx brdcst
address: 2
srcMem: 1
dstMem: 1
node 3
network1
proto: 1
tx
address: brdcst
srcMem: 0
dstMem: 2
node 2
network0
proto: 193
rx brdcst
address: 3
srcMem: 0
dstMem: 2
node 2
network1
proto: 1
tx
address: brdcst
srcMem: 1
dstMem: 1
node 2
timer0
proto: 1
set mem
mem: 3

## Slide 16
LIGHT – CONFIG – Step 3
During operation
Control Prototype „OnOff“
Execution in Node 2
Toggle
Set
Out
Out Inv
Node 2
Pin 5
IN - Switch
Node 3
Pin 5
IN - Switch
Node 2
BIT 0
Node 2
BIT 2
Node 3
BIT 0
sync
Node 2
Timer 0
Node 2
BIT 3
E2
E1
node 3
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
mem: 0
node 3
io1
proto: 193
digital out LED
pin: 6
mem: 1
node 2
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
mem: 0
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
Node 2
Pin 6
OUT - LED
Node 3
Pin 6
OUT - LED
Node 2
BIT 1
Node 3
BIT 1
sync
Change timer events
Change parameter
node 2
control0
proto: 1
on/off
parameter:
2/0: in toggle mem 0
2/2: in toggle mem 2
0/1: out mem 1
3/3: in set mem 3
node 3
network0
proto: 193
rx brdcst
address: 2
srcMem: 1
dstMem: 1
node 3
network1
proto: 1
tx
address: brdcst
srcMem: 0
dstMem: 2
node 2
network0
proto: 193
rx brdcst
address: 3
srcMem: 0
dstMem: 2
node 2
network1
proto: 1
tx
address: brdcst
srcMem: 1
dstMem: 1
node 2
timer0
proto: 1
set mem
at: 17:00
on: mdmdfss/h/v
mem: 3
value: 1
node 2
timer0
proto: 1
set mem
at: 17:00
on: mdmdfss/h/v
mem: 3
value: 0

## Slide 17
LIGHT – KINDERBAD
Control Prototype „OnOff“
Execution in Node 2
Toggle
Set
Out
Out Inv
Node 2
Pin 5
IN - Switch
Node 2
Pin 6
OUT - LED
Node 2
BIT 0
Node 2
BIT 1
Node 2
Timer 0
Node 2
BIT 2
T2
T1
node 2
io0
proto: 226
digital in switch
pull-up/default 0
pin: 5
mem: 0
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
node 2
control0
proto: 1
on/off
parameter:
2/0: in toggle mem 0
0/1: out mem 1
3/2: in set mem 3
node 2
timer0
proto: 1
set mem
at: 20:00
on: mdmdfss/h/v
mem: 2
value: 1
node 2
timer0
proto: 1
set mem
at: 8:00
on: mdmdfss/h/v
mem: 2
value: 0

## Slide 18
HEIZUNG – CONFIG
Control Prototype „Heating“
Execution in Node 2
Toggle
Set
Valve
Is Frost
Node 2
Pin 5
IN - Button
Node 2
BIT 0
Node 2
Timer 0
Node 2
BYTE 3
E2
E1
node 2
io0
proto: 226
digital in button
pull-up/active low
pin: 5
mem: 0
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
Node 2
Pin 6
OUT - LED
Node 2
Pin 6
OUT LED
Node 2
BIT 1
node 2
control0
proto: 1
on/off
parameter:
2/0: in toggle mem 0
2/2: in toggle mem 2
0/1: out mem 1
3/3: in set mem 3
node 2
timer0
proto: 1
set mem
at: 17:00
on: mdmdfss/h/v
mem: 3
value: 1
node 2
timer0
proto: 1
set mem
at: 17:00
on: mdmdfss/h/v
mem: 3
value: 0
Status
Night
Day
Offset
Frost
Sensor
Winwow
Is Night
Is Day
Node 2
BYTE 0
Node 3
Pin 5
IN - Switch
Node 2
BIT 2
Node 3
BIT 0
sync
Node 2
BYTE 0
Node 2
Pin 7
IN - Sensor
Node 2
Pin 6
OUT LED
Node 2
Pin 6
OUT LED
Node 2
BIT 1
Node 2
BIT 1
Node 2
BIT 1
node 3
network1
proto: 1
tx
address: brdcst
srcMem: 0
dstMem: 2
node 2
network0
proto: 193
rx brdcst
address: 3
srcMem: 0
dstMem: 2
node 2
io0
proto: 226
digital in button
pull-up/active low
pin: 5
mem: 0
node 3
io0
proto: 226
digital in button
pull-up/active low
pin: 5
mem: 0
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1

## Slide 19
ROLLLADE – CONFIG
Control Prototype „Blinds“
Execution in Node 2
Up
Down
Engine
Node 2
Pin 5
IN - Button
Node 2
BIT 0
Node 2
Timer 0
E2
E1
node 2
io0
proto: 226
digital in button
pull-up/active low
pin: 5
mem: 0
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
Node 2
Pin 6
OUT - LED
Node 2
Pin 6
OUT LED
Node 2
BIT 5
node 2
control0
proto: 1
on/off
parameter:
2/0: in toggle mem 0
2/2: in toggle mem 2
0/1: out mem 1
3/3: in set mem 3
node 2
timer0
proto: 1
set mem
at: 17:00
on: mdmdfss/h/v
mem: 3
value: 1
node 2
timer0
proto: 1
set mem
at: 17:00
on: mdmdfss/h/v
mem: 3
value: 0
Timer
Curr Pos
Window
Auto
Auto
Direction
Node 2
BYTE 0
Node 2
BIT 3
Node 2
Pin 7
IN - Sensor
Node 2
Pin 6
OUT LED
Node 2
BIT 6
Node 2
BIT 7
node 3
network1
proto: 1
tx
address: brdcst
srcMem: 0
dstMem: 2
node 2
network0
proto: 193
rx brdcst
address: 3
srcMem: 0
dstMem: 2
node 2
io0
proto: 226
digital in button
pull-up/active low
pin: 5
mem: 0
node 3
io0
proto: 226
digital in button
pull-up/active low
pin: 5
mem: 0
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
node 2
io1
proto: 193
digital out LED
pin: 6
mem: 1
Node 2
Pin 6
IN - Button
Node 2
BIT 1
Node 2
Pin 7
IN - Button
Node 2
BIT 2
Sun
Node 2
BIT 4
Sun Pos
Node 2
BYTE 0